## Fire stopping register
Fire stopping register
Project Audit Pro · projectauditpro.com · free to use and to change
One row per penetration. The photograph before the seal is closed up is the one that cannot be taken again later. Row 7 is an example; delete it.
Ref | Date | Block / level | Location | Drawing / grid | Barrier type | Fire rating | Penetration | Service size | Certified system | Batch / label | Installed by | Photo before | Photo after | Labelled | Status | Checked by | Date checked
FS-001 | 2026-09-23 | Block B · Level 03 | Corridor riser C3 | DWG-004 grid D/4 | Compartment wall | 60 minutes | Cables | 2 x 50mm tray | Certified batt and coating system | B-4471 | Ridgeway M&E | Yes | Yes | Yes | Accepted | A. Salamonczyk | 2026-09-23